# Grid Optimization: Quantum for Climate

## Optimizing Next-Generation Electrical Grids with Quantum Algorithms

Github Repo | Github Task Board | Overleaf Paper | Jul. 28-2 OH, Due Aug. 9

presentation

US Naval Nuclear Laboratory - Quantum + AI For Climate Project

$5000 Womanium Grant pool:

3 Technical Merit (1/project), 1 Best Presentation, 1 Startup Potential

+ QSL fellowships w/ NNL based on exceptional technical merit, novelty, communication

## Goals + Deliverables

- Communicate & Inform

  - app/website: add tab or way of learning about electrical grid inefficiencies, current states, recent developments in the world of electrical grid optimization

  - clearly present why & how quantum computing offers exact optimization to grid problems

- Demonstrate

  - live: see electrical grid structures / inefficiencies??

For our project, we wanted to create a framework to implement quantum optimization algorithms on electrical grids. We achieved this by creating code that translates from various open-source electrical grid data to the Python power modeling software Pandapower, running various optimization algorithms on these grids that connect to D-Wave's quantum computers, and starting to build an app that puts quantum grid optimization into the hands of everybody. We quantum-optimized the microgrid partition problem and are looking to continue working on modeling more challenging optimal power flow equations.

We have 0 days left!!!

#### "electrocution" = Electro-Q-Tion… courtesy of Gemini

# Outline

Python (+JS?) ElectricalGrid Graph Structure: translate from JS real or input data to create python structure to run subsequent optimizations on

- nodes: type of power prosumer (plant or distributed or consumer), type of generation (if producer, solar, wind, nuclear, etc. if storage, battery storage), scheduling information for supply and demand

  - advanced: model consumers, transformers?

  - adding transformers + housing via OSM

- edges: transmission lines, encode by voltage

- microgrids: group nodes by voltage? store in grid w/ node indices?

- similar: RL powernet.py

  - learn networkX | pandapower_nx_conversion

  - get OSM data in Python

  - OSM to pandapower | pandapower | pp graph searches

  - pandapower to nx system  | study OGM objects |

  - load california transnet CSV → pandapower ()

  - view graphs in python w/ PyVIS

  - PSS/E raw data format, PSS/E 30 manual, transient stability sheet | TS2

  - transnet load estimator

  - "group" microgrids in network

  - connect python to web database: PostgreSQL→Python: psycopg3

  - write D-Wave QUBO script

    - D-Wave sampleset documentation

JS Electrical Grid Visualization Map: create interactive, dynamic electrical grid map that synthesizes with our optimization framework

- PostgreSQL + PostGIS to query GIS for nodes (plants, substations) + power lines

  - OpenGridMap "pgis" system github

  - also OpenInfraMap FULL WEBSITE CODE on github

- OpenStreetMap has a bunch of data "power" tag API

  - OSM GIS conversion detailed in transnet OpenGridMap(pg.47) and on the github

  - also OGM .csv files stored directly at transnet-models

  - download OSM → PostgreSQL using https://osm2pgsql.org/

- ability to select nodes + lines

  - drag area to select?

- visualize microgrids, pre-selected and/or from after optimization on larger network

  - ability to "collapse" a microgrid into an area region to view it in a larger context?

- ability to upload a grid model & view it?

- convert PostgreSQL→ElectricalGrid() to run Python optimizations. potentially run python in JS?

  - TODO 1

  - last: connect PostgreSQL→ElectricalGrid()

App: mobile-friendly, accessible app (+website?) to access map, run optimizations, learn about quantum + grid + climate applications

- app functionality

  - JS map viewer + explorer

    - allow all tools from the web JS version possible in the app

  - Predictive Analytics

  - Optimization Tools

  - this scores big communication points

- marketing / design

  - names:

    - QuantumGrid → QuantaGrid → QGrid

    - Electri-Q → ElectriQFlow → QFlow

    - QuantumPowerFlow → QuantumFlow | QuantumPower

    - electro-Q-tion → EQtion

  - icons: app icon (design.com) | AI icon generator

  - Slogans

    - "Empowering the Future with Quantum Energy"

    - "Quantum Solutions for a Greener Grid"

    - "Revolutionizing Power, One Quantum Step at a Time"

    - "Harnessing Quantum Power for Sustainable Energy"

    - "Optimizing Grids, Energizing Tomorrow"

- Figma stuff

  - Senior Booking (Community) App

  - QPGrid Web + App Frame

  - Host JS map… maybe start with hosting OpenGridMap?

  - TODO Two

Grid Optimization Algos: show a significant quantum advantage by applying quantum algorithms. combine physics, math, CS to formulate + speed up optimization problems with innovative use of ML & quantum. implement basic ones, pick one paper to (try to) improve upon

- pricing

  - QUBO - Sec.2: dynamic renewable price incentivisation, sec.5: peer-2-Peer Energy Trading-room for improvement by adding pricing (2024)

- microgrid modeling

  - QUBO - Sec.3: self-sufficient energy community detection, sec.4: Prosumer Coalition Formation (2024)

  - community detection 2021 paper

- model AC/DC electricity flow using optimal power flow (OPF) equations.

  - typeset full ACOPF math explainer (2020, copied to the overleaf)

  - overview of OPF methods on quantum (2023 IEEE) with basic objective function

  - and combine with ML/physics + ACOPF explainer (2024)

  - learn from quantum HHL for ACOPF (2022)

  - improve quantum HHL for DCOPF interior-point methods (2023)

    - learn: exploring state-of-the-art interior point methods (2021)

- supply scheduling—unit commitment

  - many recent papers (2023, 2024) solving unit commitment w/ quantum (2022)

- demand modeling with variable + distributed supply

  - short-term load demand forecasting through rich features based on recurrent neural networks (2020)

  - Robust Time-Varying (real-time) Synthesis Load Modeling in Distribution Networks Considering Voltage Disturbances (2019). Solved with nonlinear least square (NLS), room for improvement

- designing new grid infrastructure

  - plan new (renewable) power plants (and coupled battery storage)

    - given historical demand, existing power plants

    - given a set of proposed locations

    - constrained to a budget

  - optimize transmission line connections, choose line capacity and best location

    - given existing nodes (substations, plants) and demand/supply

    - place new substations as well? way more complicated

    - potentially use ML to follow roads along the way? has been done before

- quantum networking algorithms for data transmission

  - APP: describe cybersecurity advantage of quantum networking (QuEnergy Resilience)

  - research summary here (2022)

- ML for data center optimization

  - VQL kernel to represent state-value function in larger RL to manage data center energy

Optimization Tools: Classical

- Mixed-Integer Linear Programming + ML (MIPLearn) by Argonne National Laboratory

- Security-Constrained Unit Commitment Problem (SCUC), to clear the day-ahead electricity markets. Julia Package, Argonne

- MATLAB SimuLink optimization… see Johannes 2.5, 4 for conversion software

Optimization Tools: Quantum

- D-Wave (QCobalt), QA (quantum annealing) for QUBO (quadratic unconstrained binary optimization). have BQM, CQM, … well-formulated and best-in-market

  - QA is better than QAOA (2023), but QAOA is theoretically better

- IBM Qiskit - need to learn about QAOA (quantum-approximate optimization algorithm) (review, 2023)

- QML (pennylane) - very uncertain how this would benefit anything, if at all…

- Classiq: can do some QAOA w/ Pyomo, probably just use to visualize Q circuits. good for designing quantum optimization algos from scratch

# Papers / Brainstorming | overleaf for math

### Electrical Grid Background

terms:

- load shedding: preventing excessive load on generating plants by allowing electricity supply to be interrupted, usually by rolling blackouts

Microgrids, renewable energy loads, and increased peak demand will all be prevalent in the electrical grids of the future. These render current techniques that are used to manage the flow of power in the grid to be much more challenging, according to Argonne National Laboratory's Interconnection, Integration, and Interactive Impact Analysis of Microgrids and Distribution Systems (2017)

- on-line power flow (OLPF) is the steady-state solution of the power system. using real-time data from substation and feeder devices and buses, solve optimal power flow problems. also known as

  - calculate current, voltage, phase, real and reactive power flows and net bus injections, technical losses

  - hard to account for bi-directional power flow, where power flow may reverse quite frequently due to distributed generation of renewable sources

  - requires local stochastic power flow engine, deterministic at DMS level but stochastic within each microgrid

  - use real-time data and grid states, applying dynamic constraints

- short-circuit analysis (SCA) calculates short-circuit current distribution for hypothetical faults to evaluate its potential impact on three-phase, two-phase, and single-phase lines

  - microgrids introduce "unbalanced multi-phase distribution feeder lines"

  - adding dummy nodes and lines creates an equivalent three-phase system that one can then use the bus impedance matrix to do SCA with

  - An analytical method is "phase domain analysis" using phase coordinates, where outputs are modeled as net current injections at the nodes of a modified nodal admittance matrix, with the constraints of searching for a fault in the system

  - also "fault location, isolation, and service restoration" FLISR to detect and locate fault current contributions in the grid

  - to restore from a fault, first restore loads and then microgrids

- Volt-VAR Optimization (VVO), facilitates load transfers, network topology changes, or user requests.

  - optimal control settings for on/off states of capacitor banks and tap positions to maintain the correct voltages throughout the grid.

  - subject to voltage operational limits, power factor constraints

  - minimize distribution losses by maintaining power factor

  - ensure desired voltage profile along "feeder circuit"

  - reduce peak loads through conservation voltage reduction (CVR)

  - conventional VVO models capacitor banks, substation transformer taps, feeder voltage regulators as binary or discrete control variables.

  - with microgrids, this results in a mixed-integer programming problem, with both discrete and continuous variables

  - must be able to hierarchically integrate control effects of different voltage controllers that have different time scales, from the sub-second microgrid controllers to the minute-scale conventional voltage regulating devices

  - should have a "fail-safe" design so that no control action would produce an unacceptable voltage

  - Advanced Grid Integration Test Platform for Increased Distributed Renewable Energy Penetration in Smart Grids (2021) describe challenges in managing "smart inverters" to control the grid

QuEnergy: Exploring the role of quantum computing for the electric grid

- unit commitment: scheduling percentages of available energy sources to meet demand, keeping in mind when such sources are most beneficial and available: determining which generators to use when to meet the expected demand?

- Load balancing refers to matching supply with demand in real-time

QuEnergy Resilience: Exploring the role of quantum security and cyber for the electric grid

- detect anomalies using quantum sensors

- improve cybersecurity using quantum networks, maybe sensors, to encrypt data quantumly and become invulnerable to any attempted cyberattackers

(this is shit, just briefly mention previous attempts) History of Optimal Power Flow and Formulations (Dec 2012), Mary B. Cain, Richard P. O’Neill, Anya Castillo, from the Federal Energy Regulatory Commission

### Classical Numerical Methods

Basic Newton-Raphson solver to find the zeroes of polynomials

Mathematical Programming formulations for the Alternating Current Optimal Power Flow problem (July 2020)

- copied bar-for-bar into the overleaf… edit pls

Numerical Performance of Different Formulations for Alternating Current Optimal Power Flow (2021), Sayed Sadat and Kibaek Kim

- Linear solver using the interior point method

- Shows improvement using a box-constrained method

### Optimal Power Flow Equations

Mathematical Programming formulations for the Alternating Current Optimal Power Flow problem (2020)

Implementing ACOPF with Machine Learning (June 2024) "Synergizing Machine Learning with ACOPF: A Comprehensive Overview"

- The classical problem formulation is to minimize energy generation cost while satisfying physical laws and engineering constraints:

Where PGk, QGk are the active and reactive generator powers.

PDk, QDk are the active and reactive power of demands,

eh… check the overleaf

- This details an entire pipeline for learning how to apply ML to ACOPF, using deeper and deeper neural networks!

- Computational time improved by at least 7 times compared to conventional interior-point solver

- Implemented a Physics-Informed "OPF-DNN" model that leverages Lagrangian constraints

  - provides a more accurate result with fewer data

  - found 104—10000X speedup over all other ML models, which had a next best speedup of only 63X!

  - average prediction error of 0.2686%, and extremely robust, across all five parameters. Best at predicting v, worst at pf

- "This body of research is at the beginning of this area, and further exploration can be undertaken into the possibilities of solving ACOPF problems using machine learning."

### Grid Optimization w/ Quantum

Optimal Power Flow Solutions via Noise-Resilient Quantum-Inspired Interior-Point Methods (Nov 2023)

- Presentes three quantum interior-point methods (QIPMs) to tackle the DC!! optimal power flow problem (DCOPF), only using noisy intermediate-scale quantum devices.

- Optimization model is redefined as linearly constrained quadratic optimization

  - Is this a potential large loss, as we saw with AC, or are the DC equations just simpler? prob simpler bc no phase, eh

- Uses newtonian descent, limited by the resolution of the linear system, with Harrow-Hassidim-Lloyd (HHL) quantum algorithm

- Demonstrates (preliminary) quadratic improvement in theoretical results for the NT-QIPM algorithm, but not the CNT-QIPM

Quantum Optimization for the Future Energy Grid: Summary and Quantum Utility Prospects (2024)

Overview: provides many graph optimization problems that offer exponential speedups from quantum algorithms

- supply scheduling, responding to dynamic demand (broad af)

  - schedule the production of existing power plants to efficiently route power

  - predict demand from both historical and immediate data

    - can assume grid information is known with some (modeled?) latency for a modern grid

- microgrid formation from existing grid infrastructure

  - breaks problem of scheduling into tractable units

  - "self-sufficient energy community detection" (Sec.2) using quadratic unconstrained binary optimization (QUBO)

  - "prosumer coalition formation" (sec.4) using Quantum Approximate Optimization Algorithm (QAOA)

- placing new grid infrastructure

  - types, location of new (renewable) power plants and battery storage (coupled to solar/wind)

  - optimizing transmission lines

    - placing them efficiently to connect supply with demand

    - Optimize capacity of lines for predicted needs

- Dynamic Price Incentivization for Renewable Energy Usage - discount scheduling problem (DSP). (Sec.3)

  - solved with D-Wave quantum annealing

- game theoretic "peer-2-peer energy trading" (Sec.5)

  - this is a purely graph problem, solved with quantum simulated annealing. see problem derivation!!

Formulate problems as graph traversal using Quantum approximate optimization algorithm (QAOA). Where nodes are assigned as qubits and quantum algorithms are used

Quantum computing in power systems (IEEE 2022) from the Institute of Electrical and Electronics Engineers

Overview: a massive array of applications and problem formulations for the electrical grid

- quantum-enabled stochastic analysis using quantum amplitude estimation (QAE), convergent to monte-carlo sampling methods - for highly decentralized microgrid networks

  - Quantum Distribution System Reliability Assessment (2022) applies QAE to a simple radial distribution and achieves quadratic speedup.

- unit commitment

  - N. Nikmehr, P. Zhang and M. A. Bragin, "Quantum Distributed Unit Commitment: An Application in Microgrids," in IEEE Transactions on Power Systems, vol. 37, no. 5, pp. 3592-3603, Sept. 2022, doi: 10.1109/TPWRS.2022.3141794. (PDF ALREADY DOWNLOADED)

  - quantum version of the decomposition and coordination alternate direction method of multipliers (ADMM) to coordinate distributed entities.

  - first, break down problem into subparts that describe the cost function as well as constraints, formulated with QUBO

  - then combine these QUBO problems and optimize them using QAOA

  - this paper contains all of the problem formulations and tests them on simple distributed grids

  - F. Feng, P. Zhang, M. A. Bragin and Y. Zhou, "Novel Resolution of Unit Commitment Problems Through Quantum Surrogate Lagrangian Relaxation," in IEEE Transactions on Power Systems, vol. 38, no. 3, pp. 2460-2471, May 2023, doi: 10.1109/TPWRS.2022.3181221

  - devises a distributed, quantum version of surrogate Lagrangian relaxation, in much of a similar way to the last paper

  - says that the previous method generally does not converge, and this one is better, because it creates a contraction operator

- distributed control - creating controllable and resilient networks using quantum communication

  - Quantum Distributed Microgrid Control (2022)

  - by sending quantum-encrypted keys, and even using photonics to send quantum information directly, grid control systems can be completely secure from attacks

Quantum Computing for Power Flow Algorithms: Testing on real Quantum Computers (2022)

- fully describes the simples quantum algorithm for solving AC power flow problems (ACOPF), by linearly approximating it. then solved with HHL

- ran on a real NISQ quantum computer for 3-bus and 5-bus grid networks

### Quantum Algorithms (For Ideas)

- Quadratic Unconstrained Binary Optimization (QUBO)

  - any quadratic optimization problem is equivalent to finding ground state of an Ising Hamiltonian (seen in q.dist.unit.commit, 2022)

Configuration optimization and energy management of hybrid energy system for marine using quantum computing (PDF), 2022

Overview: Introduces optimization problems present in hybrid energy systems, applied to managing the energy systems of marine vessels

- optimal scheduling for hybrid energy systems

- uses quantum artificial bee colony (QABC) algorithm to generate a configuration scheme satisfying multiple constrain

- use the multi-objective "quantum particle swarm optimization" algorithm, QPSO, for ts

"swarm" algorithm Quantum firefly swarms for multimodal dynamic optimization problems (2023, PDF)

Overview: break an optimization problem into sub-parts "sub-swarms" that compute solutions in parallel and use "firefly"-like combination techniques to move towards the best solution as a whole

Quantum computing for future real-time building HVAC controls (2023, PDF) by Deng, Wang, Dong

Overview: formulates the non-linear problem of controlling a building's HVAC system using quantum unconstrained binary optimization (QUBO)

- current HVAC is controlled by proportional-integral controllers that simply respond to local current sensor readings

- however, buildings have complex heat transfer dynamics, which involve non-linear equations where finding global optima is challenging

### Quantum Simulation Problems:

- (unlikely, offshoot) improving grid storage solutions by researching new highly efficient long-term battery storage

  - liquid metal storage — improving ceramic insulation?

### Machine Learning for Optimization (additional Ideas)

- reinforcement learning agent trained on the grid simulation framework?

  - actions: managing power supply

  - states: demand

  - if we are

- gradient learning on the grid? using some sort of gradient boosting?

- decision tree embedding for supply scheduling?

- ensemble-enabled parallelism with BUTTER

# Data & Resources

### Mapping + Visualization

- ARCGIS map layer with pretty much any dataset. They are kind of the best geospatial information systems thing out there, but we might not need such advanced capabilities.

  - 21-day free trial

  - example use of ArcGIS sdk with javascript to cluster power plants by generation power

  - map viewer tool

- OpenStreetMaps (OSM)

  - offer own open source map API and datasets for free

  - https://wiki.openstreetmap.org/wiki/Key:power

  - https://www.geofabrik.de/data/energy-networks.html

  - Downloading page for OSM

  - level of abstraction - don't care about individual power towers, solar panels, wind turbines…

    - group power stations as a single substation

    - transmission lines as single lines

    - group networks with same voltage as microgrid?

- OpenInfraMap - maps OSM "power" key with icons and a bunch of stuff

  - renders electricity, telecommunications, water, petroleum, and microwave communications infrastructure, also features a similar rendering of power lines in one of its overlays, Names of substations and their highest voltage, and power plants are also indicated.

  - mapped with OpenStreetMaps, need to find out how to select only specific areas / grids to view, turn off gas pipelines

  - https://openinframap.org/about says how to access data

  - Can we like straight copy this, and edit it for our app? if it's open…

  - might need to convert data to edges/nodes, we don't care about individual power towers and transmitters

- OpenGridMap is literally OpenInfraMap, with Mapbox instead of OpenMapTiles, only grid

- Leaflet JS: Hosting mobile-friendly maps, can connect with OSM API. used by https://overpass-turbo.eu/index.html

- Google Maps JS API Key (for roads, cities?) might be overkill

- NREL AIRES Distributed Energy Resource Visual Emulator Environment: Phase 1 (paper, 2023)

  - climate visualization tool (can layer different filters on to visualize climate impacts)

### Datasets

- mapping infrastructure - transmission lines + power sources + consumers. I've looked at a bunch of resources online, and it seems like pricing info at substations is readily available… still need to find transmission line dataset with all stations, stored in ArcGIS but somehow can we download this data? actual low-level consumer infrastructure might be private, or even legally protected, so we might have to just create this with guessing ourselves…

  - U.S. Energy Atlas Explorer, has everything related to power infrastructure, like oil & gas lines

    - all electrical power lines dataset

    - all power plants dataset

    - HFID transmission line dataset, API - might be native to GIS services

  - tons of other U.S. datasets for background data

- Grid Networking Data

  - transnet_germany_nodes.csv

  - Predicting Power Networks from Satellite data

    - visualization of results, which also highlight medium and low-capacity transmission lines

    - Nature paper (2020)

  - SciGrid - European Electrical Grid, Mapped

  - Texas Example power grids

    - ready-to-download synthetic texas power grid - 7000-bus

  - NREL example grids - up to 240-bus

  - OpenGridMap

    - transnet/app: contains electricalgrid circuit implementations in python!

    - transnet-models: inferred graphs with csvs of nodes, edges

- Power Plants, General Load, Demand

  - Grid Status Dataset (+ API KEY) - pricing at substations, load information w/ power sources

    - net grid system datasets (avg net load, wind output, pvgr output, dc tie flows: east, north, laredo, railroad, eagle pass; current frequency (59.992)

    - example python Plotly visualizations for net load data

  - open power system data: list of power plants from EU countries of Czechia, Denmark, France, Germany, Poland, Sweden, Switzerland and United Kingdom (renewable), able to be fully plotted

- background map

  - U.S. National Climate Map Explorer

    - Heat Index, Temperature Max + Mins, Fire Weather Index, Total + Noe Precipitation, Wind Speed

    - Data Downloads

    - Climate Visualization Tool

- simulate our own electrical grid? Generation Method of Power System Test Examples Based on Complex Network Theory, 2022

- PyPSA: Python for Power Systems Analysis

## Problem Statement / Presentation (week 4)

general comments

- for our 5-minute presentation, is everyone fine with google slides? i'm fine w powerpoint too. votes for google slides: ( I    )  votes for powerpoint: (      )

The Problem and Background: Explain why the problem you picked is important or interesting to your team and why you are interested in solving it. (10 points)

Background:

"The electric power grid is undergoing unprecedented modernization as a result of the growing proliferation of distributed energy resources, increased reliance on variable renewable generation, and electrification of various sectors such as transportation. These sweeping changes have compelled electric utilities to amplify their monitoring and measurement efforts, through the deployment of advanced metering infrastructure, wide-area measurement, and distribution automation, in turn resulting in the collection of a myriad of data from the entire grid. The significant increase in the volume and variety of collected data ensures better grid observability and further enables enhanced decision making. The enabling component, however, remains to be a robust computational foundation that is capable of converting the collected big data into actionable information".

"As the power system is becoming increasingly reliant on variable renewable generation and intermittent loads, developing forecasts for the state of the system requires different kinds of analytical capabilities. Multi-outage cases in response to the growing frequency and intensity of extreme weather events and natural disasters as a direct result of climate change is another viable example. Therefore, new classes of models, algorithms, and computational tools are required to address the needs of the grid of the future. Quantum computing is an empowering technology that can address many of these challenges while creating the computational foundation for an ever-evolving grid."

from Quantum-Enhanced Grid of the Future: A Primer (2020)

"Optimizing our energy allocation is critical in the race against climate change." — Forbes, May 2024

"It could also help to model, simulate and optimize areas such as reforestation, solar power usage, logistics and supply chains, and so forth with more speed and reliability than currently available."

Problem: Can quantum computers find optimal solutions to alternating current optimal power flow (ACOPF) equations?

  - What are ACOPF equations? Check out this paper from June 2024, 25 days ago! And check

inefficiencies in grid

- "There’s also the question of setting up new generators. When planning fresh developments, companies need to consider everything from local weather conditions to demand, grid constraints, supply chain challenges, transportation costs, and employee availability. Renewables, like wind turbines, are particularly vulnerable to the vagaries of their environment, so such calculations will only grow more prescient — and more complicated — as companies shift to sustainable resources."

  - https://techmonitor.ai/hardware/quantum/can-quantum-computing-make-the-energy-grid-sustainable

- NREL's ARIES program, in 2023, had goals of

  - increasing integrated energy systems

    - hybrid energy systems

    - industrial decarbonization efforts.

  - improving grid stability using high amounts of renewable energy

    - using electronics for advanced power control

    - eliminating potential cybersecurity threats

  - transforming the future energy infrastructure

    - integrating wide-spread vehicle charging

    - virtual power plants from distributed generation among homes and vehicles

    - energy storage is needed to balance the variable generation of renewables with increasingly strong, and varying, stresses on peak system load

- In 2023, ARIES developed a novel interface between quantum computers and power devices in-the-loop, which is promising for early-stage quantum computing testing (2023 article). At the same time, the supercomputing resources that are currently used to predict grid behavior have gotten an upgrade in five times their computing power with the new Kestrel cluster installed in summer 2023.

Problem: Installing new Power Generators

- To plan new generator developments, companies need to consider local demand, weather conditions, grid constraints, supply chain logistics, transportation costs, employee availability. Renewable resources are especially vulnerable due to inconsistencies across the board. from the Tech Report

- Before the start of 2023, quantum computing had already been used to optimize complex energy grids. In Germany, energy giant E.ON is utilizing IBM Cloud and Qiskit to optimize supply scheduling for its highly-decentralized power infrastructure; in France, energy supplier EDF collaborated with photonic startup Quandela to simulate deformations in hydroelectric dams; and in Italy, energy company Eni supercharged its R&D department with quantum machine learning (QML) startup Pasqual. happened before the end of 2022! paraphrased from the Tech Report

Background Research, Literature Reviews: What have others done in the past to try to solve the problem, what advantages and disadvantages are there to different approaches? List all the references you used. (15 points)

- We believe that, when modeling physics problems, any bit of physics that can be applied to increase the efficiency of a solving algorithm benefits the computing community tremendously. This particular physics problem is no different, and as of yet, still relies on ML methods combined with convexity approximations in order to be solved. This requires a tremendous amount of supercomputing power, which ironically creates a large environmental impact.

- We conducted a literature review of current ML methods to solve ACOPF equations, and found an utterly lack of methods which utilize the natural advantages of physics to achieve quadratic speedup.

- add papers and discuss

- briefly discuss other, similarly intractable problems

How Can AI or Quantum methods be used to help solve your problem?. Give a detailed description of the algorithms involved and how they work. Discuss any results that you obtained or that you read in your literature review. Also, comment on the computational resources needed to run your solution. What kind of advantages does AI or quantum provide? (25 points)

- List quantum advantages to ACOPF

- List advantages to other problems

Work towards developing a small demo app of the method. An optional challenge, and you can use existing code and data if needed. If the problem is too big to run on the hardware you have access to, that’s ok! (+15 points)

- GOAL OF THE APP: to create a highly-accessible, open-source environment that demonstrates the benefits of quantum computing to the power grid, and the climate.

- OPTIMIZE: apply both quantum + ML improvements to various grid optimization problems, whenever possible

  - can we run python in-browser, or do we need a remote, or even local, connection?

  - export better grid architecture designs and information so electrical grids can be improved ASAP

- VISUALIZE: view to visualize the current state of the grid (U.S., globally, a few countries?), incorporating climate factors

  - toggleable background from historical climate data, increase topological features, label cities using

  - open-source map API for cities and streets?

  - EFFICIENT 3D VISUALIZATION OF BUILDINGS??

    - also a playable video game

- CREATE: ability to easily create electrical grid architectures, export architectures, load architectures, and load unique optimization algorithms

  - algorithm editor too?

  - native IDE?

  - sdk?

- LEARN: directions on how to fully utilize the power of the app, provide educational content about quantum computing, the electrical grid, and each optimization problem we implement

Presentation / Paper / App  Scores of 30 points or higher will be considered passing.

- What are the benefits and drawbacks?

  - are there even any drawbacks? besides limitations of current quantum computers?

- How does it provide an advantage?

  - quantum speedup - quadratic?

- What can you say about its explainability or accuracy?

  - accuracy results? test on historical data?

  - imitation learn on past grid developments?

- For demo applications, you should present the source code you used, and describe how you set up the problem and what kind of runtime performance you saw (speed, accuracy, memory, etc.). Also show any outputs, plots, or animations.